## BPADetails
Partner | BPA | Oracle_Supplier_Name | Supplier_Site | Source
SOLITON | 516314 | SOLITON TELMEC LTD | NAIROBI | Agreement 516314
QUAVATEL | 516313 | QUAVATEL LIMITED | 6th Floor Somak | Agreement 516313
KINDE | 516306 | KINDE ENGINEERING WORKS LIMITED | ROLLOUT | Agreement 516306
CAMUSAT | 514807 | CAMUSAT KENYA LIMITED | NAIROBI | Agreement 514807
EGYPRO | 516301 | EGYPRO EAST AFRICA LTD | ROLL OUT | Agreement 516301
EXTRA D | 522921 | EXTRA DIMENSIONS COMPANY LIMITED | NAIROBI | Agreement 522921
TETRANET | 516311 | TETRANET SERVICES LIMITED | NAIROBI | Agreement 516311
ADRIAN | 516300 | ADRIAN KENYA LIMITED | NAIROBI | Agreement 516300
PAVICON | 516303 | PAVICON (K) LIMITED | PAVICON KENYA L | Agreement 516303
HATIKVAH | 516305 | HATIKVAH COMMUNICATIONS & GENERAL ENGINEERING LIMITED | Hatikvah commun | Agreement 516305
OPTIMAX | 516302 | OPTIMAX GROUP LIMITED | Optimax Group L | Agreement 516302
TECHMINDS | 516315 | TECHMINDS TECHNOLOGIES | Mirage Towers | Agreement 516315
POWERGEN | 516312 | POWERGEN TECHNOLOGIES LTD | NAIROBI | Agreement 516312
FIRESIDE | 516304 | FIRESIDE COMMUNICATIONS LIMITED | NAIROBI | Agreement 516304
HUAWEI | 520027 | HUAWEI TECHNOLOGIES(KENYA) CO. LTD | ROLL OUT | Agreement 520027
ACL | 516294 | ALTERNATIVE COMMUNICATIONS LIMITED | ROLLOUT | Agreement 516294

## Bpa
Description | UOM | Price | CM_Quote Description
Buildings ISP Fiber Deployment- Incentive for Building Acquisition at zero fee | Each | -
Aerial Fiber Deployment - As-Built Documentation in hard and softcopy updated in Safaricom GIS Tool including all Connection details (GIS, CAD, Mapinfo etc) | METER | 5
BF Fiber Deployment OSP- As-Built Documentation in hard and softcopy updated in Safaricom GIS Tool including all Connection details | METER | 5.28 | As built documents
BF Fiber Deployment OSP- As-Built Documentation in hard and softcopy updated in Safaricom GIS Tool including all Connection details | METER | 5.28 | As-Built Documentation soft and hard copies BF
BF Fiber Deployment OSP- Duct Inspection Test on existing duct system (Mandrel, brush, pressure etc.) | METER | 8.8 | BF-Duct Inspection Test per meter
BF Fiber Deployment OSP- CM based survey & design including all network elements fibres provisioning & statutory approval application drawings | METER | 16 | Field detailed survey report
Field detailed Technical and Health and Safety Survey (report with site/route photos) & detailed route design (GIS & CAD) to output an implementable Design | METER | 16 | GIS based survey & design BF
BF Fiber Deployment OSP- Route Cleaning | METER | 17.6 | BF-Route Cleaning
GF Fibre Deployment OSP - Planning Services ( 1.2 M Trench ) | Each | 23.23 | GF-Planning Services(1.2/0.6 Trench)
GF Fibre Deployment OSP - Planning Services Connect Master Based Design ( 0.6 M Trench ) | Each | 23.23 | GF-Planning Services(1.2/0.6 Trench)
Aerial Fibre Deployment OSP- Supply and installation of pole steel straps with accessories (buckle pins) | Each | 25
BF Fiber Deployment OSP- Installation of 1 X 12/10m microduct in existing 32/26mm HDPE duct (Includes joints) | METER | 26.4
BF Fiber Deployment OSP- Installation of duct on wall attachment | METER | 26.4
BF Fiber Deployment OSP- Pulling Cable in existing Duct | METER | 30.8
Units ISP Fiber Deployment- Installation of 1, 2, 4 core drop cable for ISP (Bend-Insensitive Fiber)Indoor/Outdoor drop cable Aramid Yam LSZH, G657A2 | METER | 35 | Installation of 1, 2, 4 core drop cable for ISP
BF Fiber Deployment OSP- Blowing upto 12-96 core Cable in existing Duct | METER | 36.96
BF Fiber Deployment OSP- Blowing upto 144 core Cable in existing Duct | METER | 36.96
Aerial Fiber Deployment - Installation of aerial O.F.Cable & Tensioning (12, 24, 48, 96, 144 fibers) | METER | 43 | Installation of Aerial Cable
BF Fiber Deployment OSP- Project Management Incl of Health & Safety | METER | 44 | Project Management BF
Units ISP Fiber Deployment- Installation of 12, 24, 48, 96 core drop cable for ISP(Bend-Insensitive,armoured cable) Outdoor Armored cable, G657A2 | METER | 45
Aerial Fiber Deployment - Project Management Incl of Health & Safety | METER | 47 | Project Management Aerial Incl of H&S per meter
GF Fibre Deployment OSP - Cable Installation ( 1.2 M Trench ) | Each | 54.4 | GF-Cable Installation(1.2/0.6 Trench)
GF Fibre Deployment OSP - Cable Installation ( 0.6 M Trench ) | Each | 54.4 | GF-Cable Installation(1.2/0.6 Trench)
GF Fibre Deployment OSP - Project Management ( 1.2 M Trench ) | Each | 59.63 | GF-Project Management Incl of H&S (1.2/0.6 Trench)
GF Fibre Deployment OSP - Project Management ( Linearised 0.6 M Trench ) | Each | 59.63 | GF-Project Management Incl of H&S (1.2/0.6 Trench)
Normal Logistics cost | Kilometer | 64.01
Units ISP Fiber Deployment- Supply & Installation of PlasticTrunking size 16*16mm with accessories (Inclusive of breaking the ceiling, drilling the wall and reinstatement) | METER | 75
Units ISP Fiber Deployment- Supply & Installation of Surface Flexible corrugated PVC pipe (25/22mm) with accessories | METER | 80 | Supply, Install corrugated PVC pipe
Aerial Fibre Deployment OSP- Supply and Installation of approved Cable markers – ADSS Cable | METER | 85 | Supply and Installation of approved Cable markers
Units ISP Fiber Deployment- Supply & Installation of Plastic Trunking size 38*25mm with accessories (Inclusive of breaking the ceiling, drilling the wall and reinstatement) | METER | 90 | Supply, Install PlasticTrunking size 38*25mm
Supply & Install Cat 6E STP Cable – Indoor | METER | 100
Supply & Install Flexible Conduits | METER | 100
Supply & Install Cable Trunking | METER | 100
Units ISP Fiber Deployment- Core drilling | Each | 150 | Core Drilling per unit
Brown Field Fiber Deployment OSP- Transportation cost per project especially on hardship/security prone areas | METER | 150
Supply & Install Cat 6E STP Cable – Outdoor | METER | 150
Supply & Install CAT6 patch cord | METER | 200
Units ISP Fiber Deployment- Supply & Installation of sealing silicon material | Each | 250
BF Fiber Deployment OSP- Installation of 1 X 16, 32, 64 port Splitter | Each | 264 | Installation of 1 X 16, 32, 64 port Splitter
Units ISP Fiber Deployment- ISP Survey, CM based Design & Documentation | Each | 352
BF Fiber Deployment OSP- Trenching up to 0.3m deep, lay ducts , install warning tape and reinstate | METER | 366.08
GF Fibre Deployment OSP - Civil Works for Main Route ( 0.6 M Trench ) | Each | 385.65
BF Fiber Deployment OSP- Splicing, Testing and Commissioning | Each | 440 | Splicing, Testing and Commissioning 1 Core
Units ISP Fiber Deployment- Installation of ONU on the wall with accessories | Each | 440
Units ISP Fiber Deployment- Installation of set-top box on the wall with accessories | Each | 440
Units ISP Fiber Deployment- ONU & set-top box configuration | Each | 440
BF Fiber Deployment OSP- Trenching up to 0.6m deep, lay ducts , install warning tape and reinstate | METER | 488.4
Units ISP Fiber Deployment- Homes ISP Fiber Deployment- Installation of ATB | Each | 528 | Installation of ATB
GF Fibre Deployment OSP - Civil Works for Main Route ( 1.2 M Trench ) | Each | 556.82 | GF-Civil Works for Main Route(1.2 Trench)
Brown Field Fiber Deployment OSP- Removing of heavy dumping material inclusive of bush clearing | METER | 600
BF Fiber Deployment OSP- Trenching up to 1.2m deep, lay ducts , install warning tape and reinstate | METER | 610.72 | Trenching up to 1.2m deep, lay ducts and reinstate
Units ISP Fiber Deployment- Project management for ISP&Termination implementation | Each | 660
Aerial Fibre Deployment OSP- Supply and installation of lashing clamps with accessories | Each | 800
Buildings ISP Fiber Deployment- As built documents for ISP | Each | 880 | ISP Building As built documents per building
Units ISP Fiber Deployment- Installation of FAT 12, 24, 48 ports with accessories | Each | 880 | Installation of FAT 12, 24, 48 ports
Units ISP Fiber Deployment- Installation of FAT 96 ports with accessories | Each | 880
Units ISP Fiber Deployment- Supply & Installation of cable tray width 50mm | METER | 910 | Supply, Install and fix cable tray 50mm
Units ISP Fiber Deployment- Supply & Installation of cable tray width 100mm | METER | 1200
Brown Field Fiber Deployment OSP- Supply & Installation of Foam sealant for the manholes | Each | 1200
Aerial Fibre Deployment OSP- Supply and installation of Vibration Dampers Cables | Each | 1250
Aerial Fibre Deployment OSP- Supply and installation of P - hook & J - Hooks | Each | 1250
Aerial Fibre Deployment OSP- Supply and installation of Universal Pole brackets | Each | 1250 | Supply and installation of Universal Pole bracket
Units ISP Fiber Deployment- Installation and configuration of Outdoor Fixed Wireless CPE including supply of consumables (LAN Cables, tiewraps etc) | Each | 1320
Aerial Fiber Deployment - Supply and installation of Down-lead clamps for wooden or Concrete poles | Each | 1500 | Pole Down-lead clamp, Supply and Installation
Aerial Fibre Deployment OSP- Supply and Installation of Stand-off brackets (Adjustable Pole clamps) | Each | 1500
BF Fiber Deployment OSP- Supply & install electronic ball marker | Each | 1628
BF Fiber Deployment OSP- Concrete envelop where instructed (Including constuction material)(thickness 20cm) | METER | 1800 | Concrete envelop where instructed (20cm Thick)
Aerial Fiber Deployment - Supply and installation of tangent/mid-span support clamp for wooden or concrete poles | Each | 1800 | Pole Tangent Support, Supply and Installation
Integration to client LAN(Configuration/setup of extenders, access Points ,Firewalls and Routers | Each | 2000
After Sale Support(CPE,LAN,WIFI) | Each | 2000
Misc - Tie wraps, insulating tape, cable lugs, staples, RJ 45 connectors, earthing etc | Each | 2000
Aerial Fibre Deployment OSP- Supply and installation of preformed guy grip dead end with protection accessories | Each | 2050
Units ISP Fiber Deployment- Supply & Installation of cable tray width 150mm | METER | 2100
BF Fiber Deployment OSP- Installation of micro cable joint box (12, 24, 48, 96, 144 fibers) | Each | 2200 | Installation of UG micro cable joint box
BF Fiber Deployment OSP- Supply & install road marker | Each | 2200
Aerial Fiber Deployment - Supply and installation of Slack cable storage bracket for wooden or Concrete poles | Each | 2200 | Pole Cable Bracket, Supply and Installation
Aerial Fiber Deployment - Supply and Installation of Tension Clamp for wooden or Concrete poles | Each | 2300 | Pole Tension Clamp, Supply and Installation
Units ISP Fiber Deployment- Technician | Each | 2500
Brown Field Fiber Deployment OSP- Install Bridge attachment inclusive of design, installation of GI and accessories | METER | 2500
Brown Field Fiber Deployment OSP- Recovery of Precast and Polymer Reinforced manholes | Each | 2500
BF Fiber Deployment OSP- Install Precast Handhole, Polymer covers and accessories | Each | 2640
BF Fiber Deployment OSP- Installation of Preconnectorized ODF (12, 24, 48 ports) | Each | 2640
BF Fiber Deployment OSP- Installation of Preconnectorized ODF (96, 144 ports) | Each | 2640
Buildings ISP Fiber Deployment- Installation of IPRAN Access Switch (AR or Switch) | Each | 2640
Aerial Fiber Deployment - Installation Joint box for ADSS cable joint (24, 48, 96 fibers, Light weight) | Each | 2660 | Installation of Aerial micro cable joint box
BF Fiber Deployment OSP- Microtunneling or road crossing (entire work) | METER | 3000
Aerial Fibre Deployment OSP- Recovery of poles (includes digging out, pit reinstatement & transportation) | Each | 3000
Decommissioning, Recovery(CPE,LAN equipments/WIFI Equipments) Testing and Rekitting per CPE | Each | 3000
BF Fiber Deployment OSP- Splicing, Testing and Commissioning 6-12 cores | BATCH | 3300 | Splicing, Testing and Commissioning 6-12 cores
Aerial Fibre Deployment OSP- Installation of approved wooden pole (includes digging, pole erection & ramming) (8m, 10m & 12m) | Each | 3500
Aerial Fibre Deployment OSP- Relocation of pole support | Each | 3500
BF Fiber Deployment OSP- Site/Building Survey | Each | 3520
BF Fiber Deployment OSP- Install Precast Manhole, Polymer covers and accessories | Each | 3960 | Install Precast Manhole, Polymer covers and access
Aerial Fibre Deployment OSP- Installation of WIFI Extender inclusive of accessories | Each | 4000
Aerial Fibre Deployment OSP- Installation of Fibre Reinforced Polymer (FRP) Poles (includes digging, pole erection & ramming 8m - 12m) | Each | 4000
Installation and Configuration for Outdoor CPE & Router Integration | Each | 4000
Installation and Configuration for Indoor CPE & Router Integration | Each | 4000
Buildings ISP Fiber Deployment- ISP Survey, Design & Documentation | Each | 4400 | ISP Building Survey, Design per building
Aerial Fibre Deployment OSP- Installation of approved concrete pole (includes digging, pole erection & ramming) (8m, 10m & 12m) | Each | 4500
Brown Field Fiber Deployment OSP- Supply & Install of concrete route marker posts | Each | 4500
Aerial Fibre Deployment OSP- Relocation of wooden poles | Each | 5000
Survey for indoor/Outdoor CPE & Documentation | Each | 5000
Relocation(CPE,LAN equipments/WIFI Equipments) | Each | 5000
BF Fiber Deployment OSP- Splicing, Testing and Commissioning 13-24 cores | BATCH | 5280 | Splicing, Testing and Commissioning 13-24 cores
Brown Field Fiber Deployment OSP- Install Gabions inclusive of design, installation of mesh cage and accessories | METER | 7500
Aerial Fibre Deployment OSP- Supply of approved wooden pole for support services - 8m | Each | 7500
Supply of Galvanised/Alluminium Pole -2 inch diametre - Standard 3m per installation including mounting bracket | Each | 8000
Supply of Galvanised/Alluminium Brackets for CPE Mounting | Each | 8000
Brown Field Fiber Deployment OSP- Supply & Install 6U Cabinet - With lockable door | Each | 8500
Units ISP Fiber Deployment- Estate Acquisition Gated Community (50-200 Units ) | Each | 8800
Aerial Fiber Deployment - Supply and Installation of Pole Support System for wooden or Concrete poles | Each | 9000 | Pole Support, Supply and Installation
BF Fiber Deployment OSP- Splicing, Testing and Commissioning 25-48 cores | BATCH | 9240
Brown Field Fiber Deployment OSP- Supply & Install 9U Cabinet - With lockable door | Each | 9500
Aerial Fibre Deployment OSP- Supply and Installation of Fibreglass By-Pass/Extension Arms (36"") | Each | 10500
Aerial Fibre Deployment OSP- Supply of approved wooden pole for support services (10 & 12m) | Each | 10500
BF Fiber Deployment OSP- Construct and install Masonry Manhole, Cover and accessories (500x500x600mm) | Each | 11000 | Construct and install Masonry Manhole
Units ISP Fiber Deployment- Installation of OLT | Each | 11000
Aerial Fiber Deployment - Supply & installation of approved wooden pole (includes digging, pole erection & ramming) (8m) | Each | 11000 | Pole, Supply & installation Wooden 8m
BF Fiber Deployment OSP- Installation of 144port cabinet on poles inclusive of accessories | Each | 13200
BF Fiber Deployment OSP- Installation of IPRAN Node (ATN) Installation & Commissioning scope | Each | 13200
Aerial Fibre Deployment OSP- Supply & installation of approved wooden pole (includes digging, pole erection & ramming) (10 & 12m) | Each | 13500 | Pole, Supply & installation Wooden 10m
Aerial Fibre Deployment OSP- Supply & installation of approved wooden pole (includes digging, pole erection & ramming) (10 & 12m) | Each | 13500 | Pole, Supply & installation Wooden 12m
BF Fiber Deployment OSP- Directional drilling in Rock | METER | 14000
Aerial Fibre Deployment OSP- Supply of approved concrete pole for support services - 8m | Each | 15500
BF Fiber Deployment OSP- Splicing, Testing and Commissioning 49-96 cores | BATCH | 15840
Aerial Fibre Deployment OSP- Supply of approved concrete pole for support services (10 & 12m) | Each | 19500
Units ISP Fiber Deployment- Estate Acquisition Gated Community (200-500 Units ) | Each | 19580
BF Fiber Deployment OSP- Installation 144, 288, 576 Port Cabinet including Concrete Pedestal | Each | 20000
Aerial Fiber Deployment - Supply & installation of approved concrete pole (includes digging, pole erection & ramming) (8m) | Each | 20000
Brown Field Fiber Deployment OSP- 144, 288, 576 Port Cabinet Relocation and re-installation including concrete pedestal/pole mounting | Each | 20000
Hire of Scaffolding/Cherry Picker | Each | 20000
BF Fiber Deployment OSP- Splicing, Testing and Commissioning 97-144 cores | BATCH | 23760
Aerial Fibre Deployment OSP- Supply & installation of approved concrete pole (includes digging, pole erection & ramming) (10 & 12m) | Each | 24500
Buildings ISP Fiber Deployment- Building Acquisition | Each | 30800 | ISP Building Acquisition
Aerial Fibre Deployment OSP- Supply and Installation of Fibre Reinforced Polymer (FRP) Poles (includes digging, pole erection & ramming 8m - 12m) | Each | 36500
Units ISP Fiber Deployment- Estate Acquisition Gated Community clusters (501-1000 Units ) | Each | 45760
BF Fiber Deployment OSP- Splicing, Testing and Commissioning 145-288 cores | BATCH | 47520
Units ISP Fiber Deployment- Estate Acquisition Gated Community (1001-2000 Units ) | Each | 88000
BF Fiber Deployment OSP- Splicing, Testing and Commissioning 289-576 cores | BATCH | 95040
Units ISP Fiber Deployment- Estate Acquisition Gated Community clusters (over 2000 Units ) | Each | 132000